## Section III-SMM
| Respondent | Number | Atomized | Section II number | Disposition | Description of disposition | Sean thoughts | No change category | Disposition type | Count | No change type | Count
III-2_1 | Change: Regulations and Guidance | [7 empty] | Directly accepted | 59 | Already included | 17
| R_1HduUVDzYT3QuFp | 1 to 6 | Regulations, Industry Alliances, Guidance, Frameworks and Standards |  |  |  | As a category name "Regulation & guidance" seems adequate |  | Indirectly accepted | 106 | Just commentary | 2
| R_1HduUVDzYT3QuFp | 1 | Regulations, Industry Alliances, Guidance, Frameworks and Standards |  | Note made in guidance document | Note: "Identified stakeholder needs, which are subject to certain variability, should be the driving force behind each covered topic, learning activity, module, course, and program of study" included in "About the Industrial Cybersecurity Curricular Guidance Documents" section. |  |  | Note made in guidance document | 28 | Out of scope | 13
| R_1HduUVDzYT3QuFp | 2 | Regulations |  | Indirectly accepted | Added topic "Regulations" |  |  | Insufficient detail provided | 8 | Otherwise | 22
| R_1HduUVDzYT3QuFp | 3 | Industry Alliances |  | Indirectly accepted | Added topic "Groups & associations" |  |  | No change | 61 | Total | 54
| R_1HduUVDzYT3QuFp | 4 | Guidance |  | Indirectly accepted | Added topic "Guidance & standards" | Already included |  | Referred to Section II | 4
| R_1HduUVDzYT3QuFp | 5 | Frameworks |  | Indirectly accepted | Added topic "Frameworks & paradigms" |  |  | Total | 266
| R_1HduUVDzYT3QuFp | 6 | Standards |  | Indirectly accepted | Added topic "Guidance & standards" | The difference between regulation, guidance, and standards is important
III-2_2 | Change: Common Weaknesses
| R_2YX5Hjj1Z8JitHY | 7 | Common Weaknesses and CVE's |  | No change | CVEs are instances of software weaknesses. These can be covered, but it is not necessary to change the categroy name to include the term CVE |  | Otherwise
| R_28HRVFlTwpY1Y9m | 8 to 11 | Historical Understanding of Vulnerabilities/What We Know/Suspect/Don't Know & Reporting Requirements & Need For Transparency
| R_28HRVFlTwpY1Y9m | 8 | Historical Understanding of Vulnerabilities |  | No change | It would be beneficial to cover this, but it can be covered without adding a new term/phrase. In addition, this should be covered in a traditional cybersecurity program |  | Otherwise
| R_28HRVFlTwpY1Y9m | 9 | What we Know/Suspect/Don't Know |  | No change | It would be beneficial to cover this, but it can be covered without adding a new term/phrase. In addition, this should be covered in a traditional cybersecurity program |  | Otherwise
| R_28HRVFlTwpY1Y9m | 10 | Reporting Requiprements |  | No change | It would be beneficial to cover this, but it can be covered without adding a new term/phrase. In addition, this should be covered in a traditional cybersecurity program |  | Otherwise
| R_28HRVFlTwpY1Y9m | 11 | Need for Transparency |  | No change | It would be beneficial to cover this, but it can be covered without adding a new term/phrase. In addition, this should be covered in a traditional cybersecurity program |  | Otherwise
| R_2WHW03nONpmCTMk | 12 | Common Vulnerabilities |  | No change | One challenge with "vulnerabilities" is that it can imply software vulnerabilities when we mean to take a broad view. |  | Otherwise
III-2_3 | Change: Events and Incidents
| R_2YX5Hjj1Z8JitHY | 13 | CVE's, Events and Incidents |  | Note made in guidance document | This is dealt with in two ways: 1) the statement about stakeholder needs in the "About" section of the document; 2) a note to the instructor in the Model Curricula that says something similar to "The events provide an opportunity to investigate, discuss and understand elements such as root causes, vulnerabilities, and lessons learned."
| R_28HRVFlTwpY1Y9m | 14-15 | A Catalog of Significant Cybersecurity Events/Ramifications/Lessons Learned & Industry Adjustments Taken
| R_28HRVFlTwpY1Y9m | 14 | Catalog of Significant Cybersecurity Events |  | Note made in guidance document | This is dealt with in three ways: 1) the statement about stakeholder needs in the "About" section of the document; 2) a note to the instructor in the Model Curricula that says something similar to "The events provide an opportunity to investigate, discuss and understand elements such as root causes, vulnerabilities, and lessons learned." 3) the guidance provides a representative list of of events and incidents.
| R_28HRVFlTwpY1Y9m | 15 | Ramifications/Lessons Learned |  | Note made in guidance document | This is dealt with in two ways: 1) the statement about stakeholder needs in the "About" section of the document; 2) a note to the instructor in the Model Curricula that says something similar to "The events provide an opportunity to investigate, discuss and understand elements such as root causes, vulnerabilities, and lessons learned."
III-2_4 | Change: Defensive Technologies and Approaches
| R_2Su9412OXG578E9 | 16-17 | Defensive technologies and Risk Informed Deployment
| R_2Su9412OXG578E9 | 16 | Defensive technologies |  | Indirectly accepted | Changed to "Defensive techniques" | As a single term, "Techniques" seems to include technologies and practices. | Already included
| R_2Su9412OXG578E9 | 17 | Risk Informed Deployment |  | Indirectly accepted | Added the topic "Cybersecurity Risk management"
| R_2WHW03nONpmCTMk | 18-19 | ICS Hardening and Monitoring
| R_2WHW03nONpmCTMk | 18 | ICS Hardening |  | Directly accepted | Added the topic "Device hardening"
| R_2WHW03nONpmCTMk | 19 | ICS Monitoring |  | Directly accepted | Added the topic "Device monitoring"
III-3 | Suggested additional core categories
| R_2YX5Hjj1Z8JitHY | 20 | Additions based upon survey results showing deficiencies |  | No change | That is the idea. Many changes have been made in support of this concept |  | Just commentary
| R_2YsHBQvCLvWLRjo | 21 | Historical and legacy aspects of ICS |  | Note made in guidance document | Note: “In the late 1990s and early 2000s businesses began connecting IT networks with operational technology, precipitating significant challenges between the organizational divisions that operate these technologies. It is important to recognize that IT and OT professionals have disparate educational preparation, reporting chains, and performance priorities.” was added to “IT vs OT” topic in Knowledge document. In addition, a linked reference to “IT vs OT” is included in “Common Weaknesses” topic. | The historic aspects do have security implications. This should probably be a note about how to teach.
| R_2YsHBQvCLvWLRjo | 22 | Security Risk Management |  | Directly accepted | Added "Cybersecurity Risk Management"
| R_2YsHBQvCLvWLRjo | 23 | Security vs Compliance |  | No change |  | Important topic, but is essentially identical to what would be covered in a traditional cybersecurity program of study | Otherwise
| R_2YsHBQvCLvWLRjo | 24 | ICS Security Tools |  | Note made in guidance document | Note: "In addition, security professionals should identify and proficiently employ tools that implement defensive techniques." included in entry for "Defensive Techniques". Also, specific tools will be included in the Model Curricula.
| R_XTVNiQSzyaZNSzn | 25 | Continual update |  | Indirectly accepted | Added "software/firmware updates" as a subtopic under "Sytem & host techniques"
| R_2Squ4P2NtTznJ4a | 26 | Quantitative Risk Assessments/Metrics |  | No change | This would be included in a combination of ICS security program and Risk asessment | In description document, descibe what types of metrics might be ICS specific
| R_RqVMBWhBtfTdYrf | 27 | Secure Design and Integration |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry | As a category title, this is one suggestion, as a topic suggestion, this should be considered two. To me, this has the flavor of "how to" rather than topical knowledge. Also a part of lifecycle
| R_RqVMBWhBtfTdYrf | 28 | Secure PLC Coding Practices |  | Directly accepted | Added "Secure controller programming" | I can see elaborating this one level deeper in "practices"
| R_3EaM9vGMjuCCcuf | 29 | Risk |  | Directly accepted | Added "Cybersecurity risk management" | I can see elaborating this one level deeper in "practices"
| R_2Su9412OXG578E9 | 30 | Procurement Strategies |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry | Would be covered in a traditional cybersecurity class, but has strong ICS implications. Also has the flavor of "how to". Lifecycle topic too
| R_2AX45Pxy89BCTuf` | 31 | Futureproofing ICS |  | No change |  | Insufficient detail
| R_3kMMhb0mj6S80wG | 32 | Password and credentials |  | Directly accepted | Added "Password & credential management" as a subtopic for System & host techniques | Practices that would be covered in a traditional cybersecurity class, but has important ICS imlications
| R_3kMMhb0mj6S80wG | 33 | Change control |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry | Practices that would be covered in a traditional cybersecurity course, but
| R_3kMMhb0mj6S80wG | 34 | Lifecycle management |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_3kMMhb0mj6S80wG | 35 | Remote access and support |  | Indirectly accepted | Added "Secure remote access" as a subtopic
| R_3kMMhb0mj6S80wG | 36 | Configuration management |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry | Sufficiently covered under "Device hardening" and "Change management". Also covered under "change management" in section II, where configurations are treated as a subtopic for "change management"
| R_3kMMhb0mj6S80wG | 37 | Backups |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry | Practices that would
| R_28HRVFlTwpY1Y9m | 38 | The Aurora Test/Experiment/Demonstration & What/Where/Why & How It Was Done |  | Note made in guidance document | Entry for Aurora states "Aurora is the code name given to the first widely recognized public demonstration of a cyberattack that could cause a physical consequence. In an experiment sponsored by the US Department of Homeland Security and carried out at the Idaho National Laboratory in 2007, researchers used a cyberattack to destroy a diesel Generator connected to the electric grid. The cyberattack instructed a Protective Relay (a device intended to prevent physical damage of grid equipment) to open and close the generator’s connection (Circuit Breaker) to the grid when the generator was out of sync with the electric polarity of the grid. This has been described as analogous to forcing an automobile transmission into reverse while the automobile is traveling forward at 100 kilometers/hour. "
| R_28HRVFlTwpY1Y9m | 39 | Nexus of Cybersecurity in Commercial/Industrial/Institutional/Transportation & Healthcare |  | Note made in guidance document | Entry for "Industry Sectors" includes "It may be helpful to recognize that sectors may have alternate/related names, often have high interdependencies, and that the line between industries is not always clear. "
| R_1HduUVDzYT3QuFp | 40 | Production Loss |  | No change | Consequences is most appropriately covered in Section II |  | Already included
| R_1rGFDHuFhnB2AQB | 41 | feels like we are missing something here but can't put my finger on it at this time. |  | Insufficient detail provided |  | We have made numerous changes and additions
| R_Qh4JJ9Sl3FTmiWZ | 42 | Nuclear |  | Referred to Section II | Added "Nuclear" as an industry sector in Section II
Regulations and Guidance
III-5_1 | Change: ISA/IEC 62443
| R_3MQjCEJ5fsIuCBG | 43 | General Industry Standards |  | Indirectly accepted | Added "Guidance and standards" as its own topic
| R_1rGFDHuFhnB2AQB | 44 | A little more context...let's not assume everyone knows what this is |  | Directly accepted | Added "Industrial Automation and Control Systems Security" behind IEC 62443
Change: Presidential Orders
| R_3MQjCEJ5fsIuCBG | 45-48 | Governance, Compliance and Regulations
| R_3MQjCEJ5fsIuCBG | 45 | Governance, Compliance and Regulations |  | Indirectly accepted | Changed the Category name to "Regulations & Guidance" with several reasonable topics
| R_3MQjCEJ5fsIuCBG | 46 | Governance |  | No change | Governance by itself is not a clear term
| R_3MQjCEJ5fsIuCBG | 47 | Compliance |  | No change | Regulation by itself can be covered by the term regulations because without regulations there can be no compliance
| R_3MQjCEJ5fsIuCBG | 48 | Regulations |  | Directly accepted | Added topic "Regulations"
III-5_2 | Remove: Presidential Orders
| R_2YsHBQvCLvWLRjo | 49 | This is a fleeting topic - the executive orders should be integrated within fundamental industry segment standards |  | Indirectly accepted | Added many other documents in addition to executive orders | Executive orders are still important to know about and can have significant affects on an industry
| R_RqVMBWhBtfTdYrf | 50 | only applies to government and rarely specific enough for ICS direct needs |  | No change |  | Some executive oders do have direct application to ICS. The EO that formed the DHS is an outstanding example. Also consider the Trump order on electric grid security. That was momentous -- even if it was cancelled by Biden. | Otherwise
| R_1C7kv6fnDsy5HUO | 51 | Too US focused |  | No change |  | Some executive oders do have direct application to ICS. The EO that formed the DHS is an outstanding example. Also consider the Trump order on electric grid security. That was momentous -- even if it was cancelled by Biden. | Otherwise
| R_1n87BSaF6YgOCbm | 52 | Do not have specific clarity |  | Directly accepted | Added specific laws and orders
| R_vZYehSwKucwaIcF | 53 | Federal policy at the White House level is far removed from the plant floor and field sites; it may be interesting but not worth the opportunity cost in the curriculum |  | No change |  | Some executive oders do have direct application to ICS. The EO that formed the DHS is an outstanding example. Also consider the Trump order on electric grid security. That was momentous -- even if it was cancelled by Biden. | Otherwise
III-5_3 | Change: NIST SP 800-82r2
| R_vZYehSwKucwaIcF | 54 | Voluntary recommendations and guidelines e.g. NIST SP 800-82r2 |  | Indirectly accepted | Made "Guidance & standards" its own topic
| R_1rGFDHuFhnB2AQB | 55 | same |  | Indirectly accepted | Made "Guidance & standards" its own topic
III-5_4 | Change: NERC CIP
| R_vZYehSwKucwaIcF | 56 | Mandatory standards e.g. NERC CIP |  | Indirectly accepted | Made "Regulations" its own topic
| R_1rGFDHuFhnB2AQB | 57 | same |  | Indirectly accepted | Made "Regulations" its own topic
III-5_5 | Change: EU Cybersecurity Act
| R_3MQjCEJ5fsIuCBG | 58 | Merge with Governance, Compliance and Regulations |  | Indirectly accepted | Moved it to be a subtopic within "Laws" within "Other relevant regulatory documents"
Remove: EU Cybersecurity Act
| R_1C7kv6fnDsy5HUO | 59 | Too EU focused |  | Indirectly accepted | Added subtopic "jurisdictions", added US laws as well
| R_yQjIaqY7oRRQQNP | 60 | Not a US endorsed framework, and it does not specifically address Industrial Control environments. |  | No change | Industrial cybersecurity is a global field. It is useful to know what other approaches and regulations exist. The EU cybersecurity act re-establishes ENISA. ENISA has dealt specifically with ICS in the past. In addition, the EU cybersecurity act does have a clause endoring device certifications for cybersecurity |  | Otherwise
III-6 | Additional Topics under "Regulations and Guidance"
| R_2YX5Hjj1Z8JitHY | 61 | Global / International Control Security Initiatives |  | Indirectly accepted | Added subtopic "guidance and standards bodies"
| R_27a3HBRQ60cNEsj | 62 | Sector Specific Guidance |  | Directly accepted | Added "Sector-specifice guidance & standards" | There are so many of these it is not wise to include them in the guidance document
| R_26hX0Es8WVUZ3i0 | 63 | Privacy Regulations |  | No change | Out of scope | Privacy is important, and products incresingly collect information about their users. Vehicles are a good example of this. | Out of scope
| R_2Squ4P2NtTznJ4a | 64 | ISO 27000 (27001, 27002, 27005, 27019) |  | Indirectly accepted | Added 27019 as subtopic | The 2700x series are generally out of scope as they would be included in a traditional cybersecurity program | Out of scope
| R_RqVMBWhBtfTdYrf | 65 | ISA84 security for safety systems |  | Directly accepted | Added "ISA TR-84 “Cybersecurity Related to the Functional Safety Lifecycle”
| R_ekst6dSTefw2r85 | 66 | AESCSF |  | Note made in guidance document | Note: "Identified stakeholder needs, which are subject to certain variability, should be the driving force behind each covered topic, learning activity, module, course, and program of study" included in "About the Industrial Cybersecurity Curricular Guidance Documents" section.
| R_1C7kv6fnDsy5HUO | 67 | Regulatory Frameworks |  | Indirectly accepted | Added "Frameworks & paradigms" as a topic
| R_3MQjCEJ5fsIuCBG | 68 | Sector Specific Differences and Guidelines |  | Directly accepted | Added "Sector-specifice guidance & standards"
| R_2y7OAWWVwHpdUnP | 69 | NIST CSF |  | Indirectly accepted | Added "National Instittute of Standards and Technology" as a standards & guidance body.
| R_2y7OAWWVwHpdUnP | 70 | ISO 27019 |  | Directly accepted | Added ISO/IEC 27019 as subtopic for Sector-specific guidance & standards documents
| R_2Su9412OXG578E9 | 71 | common themes |  | Note made in guidance document | Model curricula should include some basic description of how effective teaching can be achieved. Something like “the events provide an opportunity to investigate, discuss and understand elements such as root causes, vulnerabilities, and lessons learned" will be added to model curricula
| R_2Su9412OXG578E9 | 72 | 10CFR73.54 |  | Directly accepted | Added "10 CFR 73.54 & NRC Regulatory Guide 5.71"
| R_2Su9412OXG578E9 | 73 | FDA Cyber Guidelines |  | Directly accepted | Added FDA as a Sector-specific guidance & standards body, and associated guidance
| R_2Su9412OXG578E9 | 74 | MHRA data Integrity |  | No change | Out of scope | Data integrity is very important in industrial cybersecurity, but the MHRA guidance does not provide guidance specific to ICS | Out of scope
| R_yQjIaqY7oRRQQNP | 75 | I would change the EU Cybersecurity Act to "Other Government requirement that are applicable" |  | Indirectly accepted | Added subtopic "Other relevant regulatory documents", into which EU cybersecurity act was placed
| R_1JLVvwwpCaXn84N | 76 | NDAA 1650 |  | Directly accepted | Added NDAA S. 1605 (2022) Section 1541 | NDAA 1650 is 2018. Later NDAA bills have included other interesting and important components
| R_28HRVFlTwpY1Y9m | 77 | Adoption, Adherence, and Active Use of Standards in Your Company's Cybersecurity Mission, Organization |  | Note made in guidance document | Note: "Identified stakeholder needs, which are subject to certain variability, should be the driving force behind each covered topic, learning activity, module, course, and program of study" included in "About the Industrial Cybersecurity Curricular Guidance Documents" section.
| R_1rGFDHuFhnB2AQB | 78 | seems a bit limited. |  | Indirectly accepted | Added numerous topics and subtopics to this category. Also added notes explaining that the list in only representative
| R_Qh4JJ9Sl3FTmiWZ | 79 | CISA, blind trust |  | Note made in guidance document | Model curricula should include a statement similar to the following: "Instructors may cover key themes common to guidance and standards as well as weaknesses associated with guidance and standards, and the bodies that produce them."
Common Weaknesses
III-7_1 | Indefensible network architectures (no change or remove)
III-7_2 | Change: Unauthenticated Protocols
| R_8ugyg2V7BXUQEr7 | 80 | Unauthenticated network protocols |  | Indirectly accepted | Changed to "Insecure network protocols" and added a note: "Many of the most widely used industrial network protocols do not support authentication services such as passwords. As a result, any user who can communicate with a device that speaks such a protocol may interact with the controlled procoess at will." | The term "unauthenticated" is probably not clear. "Insecure" might be technically more accurate. The key point is that protocols do not support user or data authentication
| R_vZYehSwKucwaIcF | 81 | Insecure and Unsecured Protocols |  | Indirectly accepted | Changed to "Insecure networ protocols" | Note should be added to description document to describe what this means
III-7_3 | Unpatched and outdated systems (no change or remove)
III-7_4 | Change: Lack of Training
| R_2YsHBQvCLvWLRjo | 82 | Security Training and Awareness |  | Indirectly accepted | Changed to "lack of cybersecurity awareness & training"
| R_yQjIaqY7oRRQQNP | 83 | Lack of "Cybersecurity" training |  | Directly accepted | Changed to "lack of cybersecurity awareness & training"
Remove: Lack of Training
| R_1C7kv6fnDsy5HUO | 84 | Small subject area could be covered elsewhere |  | No change |  |  | Otherwise
III-7_5 | Change: Transient Devices
| R_vZYehSwKucwaIcF | 85 | Poorly managed transient devices (as originally worded it's an asset not a weakness) |  | Indirectly accepted | Changed to "poorly managed temporary network nodes"
| R_28HRVFlTwpY1Y9m | 86 | Transient Cyber Asset (TCA) as a function of NERC-CIP |  | Indirectly accepted | Changed to "poorly managed temporary network nodes"
| R_2WHW03nONpmCTMk | 87 | Temporary Nodes |  | Indirectly accepted | Changed to "poorly managed temporary network nodes"
III-7_6 | Change: Third Party Access
| R_3MQjCEJ5fsIuCBG | 88 | Required and optional access by third parties |  | Indirectly accepted | Changed to "poorly controlled network access"
| R_vZYehSwKucwaIcF | 89 | Poorly managed third-party access (as originally worded it's an operational business process not a weakness) |  | Indirectly accepted | Changed to "poorly controlled network access"
| R_2WHW03nONpmCTMk | 90 | External Access Control |  | Indirectly accepted | Changed to "poorly controlled network access"
III-7_7 | Change: Supply Chain
| R_2YsHBQvCLvWLRjo | 91 | Supply Chain Management Implications |  | Indirectly accepted | Changed to "unassured povenance"
| R_1C7kv6fnDsy5HUO | 92 | Supply Chain |  | Insufficient detail provided |  |  | Already included
| R_vZYehSwKucwaIcF | 93 | Lack of transparency in acquired software and hardware |  | Indirectly accepted | Changed to "unrecognized third-party relationships"
Remove: Supply Chain
| R_2Su9412OXG578E9 | 94 | merge with Procurement techniques category |  | No change |  | The defensive techniques will help address the weaknesses. Our approach is to include both. Instructors have the liberty to cover simultaneously if they wish | Otherwise
| R_2WHW03nONpmCTMk | 95 | Irrelevant for asset owners |  | No change |  |  | Otherwise
III-9 | Additional Common Weaknesses Topics
| R_2YX5Hjj1Z8JitHY | 96 | Deterministic Protocols - why and when they are used, |  | Indirectly accepted | Added "lack of upgrade path" | This brings to mind two interesting ideas: 1) older (vulnerble) technologies cannot easily be replaced; 2) the application of new technologies itself can cause safety and reliability concerns.
| R_5c0uAAMSNWyojMB | 97 | Lack of Signed Software |  | Indirectly accepted | Added "Unassured provenance" and "lack of software integrity mechanisms"
| R_5c0uAAMSNWyojMB | 98 | Unauthenticated Logins |  | Indirectly accepted | Added "lack of authentication requirements"
| R_5c0uAAMSNWyojMB | 99 | Weak Software Integrity Mechanisms |  | Directly accepted | Added "Lack of software integrity mechanisms"
| R_27a3HBRQ60cNEsj | 100 | Weak Access Control |  | Indirectly accepted | Added "poorly controlled network access" and "Lack of physical access controls"
| R_27a3HBRQ60cNEsj | 101 | No Least Privilege |  | Directly accepted | Added "Lack of least privilege"
| R_27a3HBRQ60cNEsj | 102 | Lack of Monitoring (SIEM, IDS, IPS) |  | Directly accepted | Added "unmonitord networks"
| R_27a3HBRQ60cNEsj | 103 | Lack of OT Cybersecurity Program |  | Directly accepted | Added "No OT cybersecurity program"
| R_2YsHBQvCLvWLRjo | 104 | OEM Limitations |  | Insufficient detail provided |  | This could be many things. We may have covered it under unassured provenance and unrecognized third party relationships
| R_2YsHBQvCLvWLRjo | 105 | ICS lifecycle impacts to security |  | Note made in guidance document | Note: "The idea that a company or organization is responsible for a facility, process, product, or system from idea through end-of-life is a powerful analytical tool with special application to cybersecurity." to entry for industrial lifecycles
| R_VJBb9QiRZiR3xC1 | 106 | System Backup (DR) |  | Indirectly accepted | Added "Lack of backups"
| R_VJBb9QiRZiR3xC1 | 107 | File Transfer |  | Directly accepted | Added "uncontrolled file transfer"
| R_2Squ4P2NtTznJ4a | 108 | Sensor Integrity/calibration/alignment |  | Indirectly accepted | Added "lack of sensor integrity mechanisms"
| R_RqVMBWhBtfTdYrf | 109 | Secure PLC Coding practices |  | Directly accepted | Added "Insecure PLC coding practices"
| R_2Su9412OXG578E9 | 110 | Design Control |  | Indirectly accepted | Added "Programmable physical damage"
| R_2AX45Pxy89BCTuf | 111 | Network perimeter security |  | Indirectly accepted | Added "Poorly controlled network access"
| R_yQjIaqY7oRRQQNP | 112-114 | Complacency, Lack of Business Resumption plans and testing,
| R_yQjIaqY7oRRQQNP | 112 | Compacency |  | No change | Complacency is an important cause. However, it could seemingly be the cause of all cybersecurity weaknesses. |  | Otherwise
| R_yQjIaqY7oRRQQNP | 113 | Lack of Business Resumption plans |  | Indirectly accepted | Added "Contingency plans lack OT focus"
| R_yQjIaqY7oRRQQNP | 114 | Lack of Business Resumption plans testing |  | No change |  | This can be covered when discussing continuity plans | Otherwise
| R_vZYehSwKucwaIcF | 115 | Lack of budget and resources |  | Indirectly accepted | Added "Lack of sponsorship & resources"
| R_vZYehSwKucwaIcF | 116 | Available but unused logging and forensics-friendly capabilities |  | Indirectly accepted | Added "unmonitored networks"
| R_vZYehSwKucwaIcF | 117 | Lack of available baseline data |  | Indirectly accepted | Added "unmonitored networks" | While this is not the exact concern, baselining should be covered under the netwok monitoring subtopic. Opportunity for a teaching note
| R_3kMMhb0mj6S80wG | 118 | 4th party risk |  | Indirectly accepted | Added "Unassured provenance" and "unrecognized third-party relationships"
| R_28HRVFlTwpY1Y9m | 119 | Vulnerabilities |  | Indirectly accepted | Added "Poor programming practices" and "Vulnerability intelligence"
| R_28HRVFlTwpY1Y9m | 120 | Domain & Subdomain openings |  | No change | Already included under "indefensible network architectures" |  | Already included
| R_28HRVFlTwpY1Y9m | 121 | horizontal/flat architectures |  | No change | Already included under "indefensible network architectures" |  | Already included
| R_28HRVFlTwpY1Y9m | 122-124 | inept cybersecurity plan/methodologies/inadequate defenses
| R_28HRVFlTwpY1Y9m | 122 | inept cybersecurity plan |  | Indirectly accepted | Added "No OT cybersecurity program"
| R_28HRVFlTwpY1Y9m | 123 | inept cybersecurity methodologies |  | Insufficient detail provided
| R_28HRVFlTwpY1Y9m | 124 | inadequate defenses |  | Insufficient detail provided
III-10 | Events and Incidents
| R_28HRVFlTwpY1Y9m | 125 | DHS Aurora - Aurora Demonstration of codeless intrusion and impact to critical infrastructure |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 126 | Stuxnet - Stuxnet Nation-State Cybersecurity Event That Damaged Equipment |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 127 | Ukraine 2015 - Nation-State Cybersecurity Capture of Electrical Network in Ukraine in 2015 |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 128 | Ukraine 2016 - Nation-State 2016 Cybersecurity Re-Capture Due to Inadequate Recovery from 2015 Incident |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 129 | Triton - Triton: Malware impact on an ICS Safety Instrumented Systems (SIS) |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 130 | Taum Sauk Dam - Taum Sauk Dam Critical Infrastructure Failure Due to "Bad" Level Sensor Reporting |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 131 | DC Metro Red Line - Critical Infrastructure Incident in Transportation that looked like a Cyber Incident |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 132 | San Bruno - San Bruno Gas Pipeline incident - Pressure Sensor Failure |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
| R_28HRVFlTwpY1Y9m | 133 | Colonial Pipeline - Colonial Pipeline - Voluntary Shutdown When a Company doesn't trust their Cybersecurity Defense Posture |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto
Remove suggestions for specific events
| R_XTVNiQSzyaZNSzn | 134 | Taum Sauk Dam - Poor design, installation, not cyber related |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto | What does "cyber-related" mean? It was not an attack by an outsider; but it certainly had a cyber-physical component.
| R_XTVNiQSzyaZNSzn | 135 | DC Metro Red Line - Poor maintenance, not cyber related (could have provided attack) |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto | What does "cyber-related" mean? It was not an attack by an outsider; but it certainly had a cyber-physical component.
| R_XTVNiQSzyaZNSzn | 136 | San Bruno - Poor maintenance, documentation, not cyber related (offered attack surface) |  | Indirectly accepted | Added "root cause analysis" as a subtopic with "internal vs external causes", "deliberate vs unintended effects", and "lessons learned" as additional subtopics thereto | What does "cyber-related" mean? It was not an attack by an outsider; but it certainly had a cyber-physical component.
III-12 | Additional Events and Incidents Topics
| R_27a3HBRQ60cNEsj | 137-138 | NotPetya 2017 (global OT effects), Oldsmar/Ellsworth (shows long-term issue even after publicity)
| R_27a3HBRQ60cNEsj | 137 | NotPetya 2017 (global OT effects), |  | Directly accepted | Added event "NotPetya"
| R_27a3HBRQ60cNEsj | 138 | Oldsmar/Ellsworth (shows long-term issue even after publicity) |  | Directly accepted | Added event "Oldsmar"
| R_3njf722UBVndAP8 | 139 | Norsk Hydro |  | Directly accepted | Added event "Norsk Hydro"
| R_XTVNiQSzyaZNSzn | 140 | Ukraine NotPetya 2017 escalation from a taxation attack to shipping, pipeline, chocolate factory, server supplies |  | Indirectly accepted | Added event "NotPetya"
| R_yQjIaqY7oRRQQNP | 141 | German Steel Mill Incident 2014 |  | No change | There is not enough information available about this event to make it a compelling case study |  | Otherwise
| R_1JLVvwwpCaXn84N | 142-144 | 2015 Jeep Hack, 2018 Ukraine Power Grid, 2021 Florida Wastewater Treatment Facility
| R_1JLVvwwpCaXn84N | 142 | 2015 Jeep Hack |  | Directly accepted | Added "Jeep/Chrysler demonstration attacks"
| R_1JLVvwwpCaXn84N | 143 | 2018 Ukraine Power Grid |  | Insufficient detail provided | Not sure what this 2018 grid hack entailed.
| R_1JLVvwwpCaXn84N | 144 | 2021 Florida Wastewater Treatment Facility |  | Indirectly accepted | Added "Oldsmar"
| R_Qh4JJ9Sl3FTmiWZ | 145 | SolarWinds-for the third party access and blind trust aspects |  | No change | Out of scope | Great case study, but it would be covered in traditional cybersecurity program
| R_274qf7ZvI8Uo4YW | 146 | Oldsmar, FL |  | Indirectly accepted | Added "Oldsmar"
| R_2YX5Hjj1Z8JitHY | 147 | Known Attacks: IT or Control System or both? |  | Directly accepted | Added topic: "IT vs OT vectors & impacts"
| R_2YsHBQvCLvWLRjo | 148 | Internal vs External / Deliberate vs Accidental |  | Indirectly accepted | Added subtopic "root cause analysis" with "internal vs external causes", and "Deliberate vs unintended effects"
| R_RqVMBWhBtfTdYrf | 149-151 | Water, Maritime, Manufacturing
| R_RqVMBWhBtfTdYrf | 149 | Water |  | Referred to Section II | This is a sector, which is covered under foundational ICS topics. The note for Events & incidents explains that the events and incidents provides and opportunity to discuss "foundational ICS topics"
| R_RqVMBWhBtfTdYrf | 150 | Maritime |  | Referred to Section II | This is a sector, which is covered under foundational ICS topics. The note for Events & incidents explains that the events and incidents provides and opportunity to discuss "foundational ICS topics"
| R_RqVMBWhBtfTdYrf | 151 | Manufacturing |  | Referred to Section II | This is a sector, which is covered under foundational ICS topics. The note for Events & incidents explains that the events and incidents provides and opportunity to discuss "foundational ICS topics"
| R_3MQjCEJ5fsIuCBG | 152 | Instead of individual attack names, categories (insecure remote access, insider threat etc.) for all categories |  | Indirectly accepted | Added topic "Tactics, techniques & procedures (TTPs)" | I am not opposed to this idea. However, incidents and cases are superior instructional mechnisms than are the weakness categories themselves. I think it is best to add a note to the guidance. Note: The events provide an opportunity to investigate foundational ICS topics, weaknesses, and defensive techniques.
| R_3kMMhb0mj6S80wG | 153-155 | OT Security Operations Center ( SOC), Contingency and IR Plans
| R_3kMMhb0mj6S80wG | 153 | OT Security Operations Center ( SOC) |  | Indirectly accepted | Added "OT security operations center" as a topic under "defensive technologies"
| R_3kMMhb0mj6S80wG | 154 | Contingency Plans |  | Indirectly accepted | Added "Contingency plans" as a subtopic for "Approaches"
| R_3kMMhb0mj6S80wG | 155 | IR Plans |  | Indirectly accepted | Added "Incident response plans with ICS focus" as subtopic under "Managerial defensive techniques"
Defensive Technologies
III-13_1 | Change: Industrial Network Firewalls
| R_2YsHBQvCLvWLRjo | 156 | Industrial Networking Technologies |  | Directly accepted | Added "Industrial network traffic control"
III-13_2 | Change: Data Diodes
| R_1eUD8SM0184KR6B | 157 | Specialty Firewall Appliances |  | Indirectly accepted | Added "Data diodes" as a subtopic under Industrial network traffic control
Remove: Data Diodes
| R_RqVMBWhBtfTdYrf | 158 | Limited useful use cases in bidirectional production environments and has not ability to inspect and filter ICS protocol commands being forwarded across diode |  | Note made in guidance document | Note: "When covering Defensive techniques, instructors may address the strengths and weaknesses of the topics and subtopics" -- added to entry for "Defensive Techniques"
| R_1rGFDHuFhnB2AQB | 159 | These are useless and cost prohibitive. They are the new "air gap" Why is this single technology called out as its own technology? Seems like influence from corprations |  | Note made in guidance document | Note: "Security professionals must recognize and consider the strengths and weaknesses of respective classes and techniques" -- added to entry for "Defensive Techniques"
| R_2WHW03nONpmCTMk | 160 | This should be combined with the Industrial Firewalls since the category is network traffic control |  | Directly accepted | Moved "data diodes" as a subtopic to "Industrial network traffic control"
III-13_3 | Change: Process Data Analysis
| R_VJBb9QiRZiR3xC1 | 161 | Security Data Analysis |  | Directly accepted | Changed to "Security data analysis" | The idea behind "process data analysis" is to emphasize this as an technique not normally covered in a cybersecurity course or program. That said, security data analysis otherwise seems to be missing from the list.
| R_3MQjCEJ5fsIuCBG | 162 | Process Data Correlation and Analytics |  | Indirectly accepted | Changed to "Analysis of process data for security purposes" | Changed to "Analysis of process data for security purposes"
Remove: Process Data Analysis
| R_2WHW03nONpmCTMk | 163 | Irrelevant for cybersecurity. Process and control engineers are monitoring the process 24/7 |  | No change |  | The point here is that process data can provide cybersecurity insight, that it is not currently being used to provide. An simple example of this would be monitoring for setpoint changes outside the normal/expected range of set points. Moreover, process and control engineers do not monitor the processes. | Otherwise
III-13_4 | ICS Network monitoring
III-13_5 | Cyber Informed engineering
III-13_6 | Remove: Process Hazards and Assessment Based Approaches
| R_2WHW03nONpmCTMk | 164 | Irrelevant for cybersecurity |  | No change |  |  | Otherwise
III-13_7 | Remove: Cyber-Physical Failsafes
| R_1C7kv6fnDsy5HUO | 165 | Could be covered in other areas |  | No change |  |  | Otherwise
| R_3lMl6Hi3p0cr1K4 | 166 | The term is confusing |  | No change |  | Just like any unfamiliar term. I don't think its that difficult to unpack. | Otherwise
| R_2WHW03nONpmCTMk | 167 | There is no such thing as cyber-physical that hasn't been reviewed during a process hazard analysis. |  | No change |  | Definitely not the case | Otherwise
III-13_8 | Awareness and trining for ICS-related personnel
III-15 | Additional Defensive Technologies Topics
| R_2YX5Hjj1Z8JitHY | 168 | Failsafe vs fail secure: The RISK paradigm |  | Indirectly accepted | Added "Safety vs security" under the topic "risk management"
| R_5c0uAAMSNWyojMB | 169 | Code Signing |  | No change | Added "Software integrity mechanisms"
| R_27a3HBRQ60cNEsj | 170-174 | Active Defense (IPS, Deception, Quarantine, Honeypots, etc.)
| R_27a3HBRQ60cNEsj | 170 | Active Defense |  | No change |  |  | Out of scope
| R_27a3HBRQ60cNEsj | 171 | IPS |  | No change | Already included under "industrial network firewalls" |  | Already included
| R_27a3HBRQ60cNEsj | 172 | Deception |  | Indirectly accepted | Added "Deceptive technologies" under Network defense
| R_27a3HBRQ60cNEsj | 173 | Quarantine |  | Indirectly accepted | Added "quarantine & observation"
| R_27a3HBRQ60cNEsj | 174 | Honeypots |  | Indirectly accepted | Added "Deceptive technologies" under Network defense | Honeypots should be included under deceptive technologies along with honeynets, honey tokens, sock puppets, canaries, and controlled release. While these could be covered in traditional IT, the are espeicially important wen covering critical infrastructure defense.
| R_27a3HBRQ60cNEsj | 175 | Managed Services in OT/ICS |  | Directly accepted | Added "Managed security services" as a topic
| R_27a3HBRQ60cNEsj | 176 | Incident Response in OT/ICS |  | Directly accepted | Added "Incident response plans with ICS focus"
| R_3lMl6Hi3p0cr1K4 | 177 | PLC Secure Coding practices |  | Directly accepted | Added "Secure controller programming"
| R_3lMl6Hi3p0cr1K4 | 178 | memory protection |  | Directly accepted | Added "Memory protection switch" and "controller input validation" | To me, memory protection for PLCs involves memory allocation (registers) and program switch modes
| R_RqVMBWhBtfTdYrf | 179 | BOM |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_3lMl6Hi3p0cr1K4 | 180 | Audits |  | Indirectly accepted | Added "Audits & enforcement" as a subtopic under "Regulation" | I am concerned about a kitchen sink feel to this.
| R_2Su9412OXG578E9 | 181 | Defense-in-depth concept |  | No change |  | This should be covered, but is substantially the same as traditional cybersecurity | Out of scope
| R_2Su9412OXG578E9 | 182 | end user awareness training |  | No change |  | Already included | Already included
| R_2Su9412OXG578E9 | 183 | physical separation |  | Directly accepted | Added "Phyiscal separation (air gap) as subtopic | I consider "functional segmentation" to be a network segentation approach
| R_2Su9412OXG578E9 | 184 | functional segmentation |  | No change | Already included under "network segmentation"
| R_3kMMhb0mj6S80wG | 185 | Asset Management |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_3kMMhb0mj6S80wG | 186 | Configuration Management |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_3kMMhb0mj6S80wG | 187 | IoT protection |  | No change | Insufficient detail
| R_3kMMhb0mj6S80wG | 188 | Segmentation |  | Directly accepted | Added "Network segmentation"
| R_3kMMhb0mj6S80wG | 189 | physical security |  | Directly accepted | Added topic "Physical security"
| R_28HRVFlTwpY1Y9m | 190 | Methodologies for monitoring, detecting/alarming on devices/subsystems & operations of legacy systems with little to no cyber posture. |  | Indirectly accepted | Added "Security management of legacy devices" within "management defensive techniques"
| R_1rGFDHuFhnB2AQB | 191 | again, not enough time |  | No change | Insufficient detail | We have made numerous changes based on recommendations from those who have provided detail.
III-16 | New Knowledge Area Categories
| R_3njf722UBVndAP8 | 192 | Asset Management |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_2YsHBQvCLvWLRjo | 193-197 | Security Log Collection: Aggregation / Monitoring / Analysis, Asset Detection and Inventory
| R_2YsHBQvCLvWLRjo | 193 | Security Log Collection |  | Indirectly accepted | Added "Analysis of security data with process control data".
| R_2YsHBQvCLvWLRjo | 194 | Security Log Monitoring |  | Indirectly accepted | Added "Analysis of security data with process control data".
| R_2YsHBQvCLvWLRjo | 195 | Security Log Analysis |  | Indirectly accepted | Added "Analysis of security data with process control data".
| R_2YsHBQvCLvWLRjo | 196 | Asset Detection |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_2YsHBQvCLvWLRjo | 197 | Asset Inventory |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_RqVMBWhBtfTdYrf | 198-200 | PLC secure coding practices: memory protection, BOM
| R_RqVMBWhBtfTdYrf | 198 | PLC Secure coding practices |  | Directly accepted | Added "Secure controller programming" as a subtopic
| R_RqVMBWhBtfTdYrf | 199 | Memory protection |  | Directly accepted | Added "Memory protection switch"
| R_RqVMBWhBtfTdYrf | 200 | BOM |  | Note made in guidance document | Note: Subtopics for lifecycle management incorporate the topics of lifecycle management described under the foundational Industrial Control System knowledge section. These include: Device configurations, System model/inventory, Software & hardware, Recalls, Errata, Release notes, Software bill of materials, Backups, Change records. -- Included in Lifecycle Management entry
| R_2Su9412OXG578E9 | 201-207 | Procurement Techniques: requirements engineering, vendor audits, secure development environments, supply chain issues, hardware and software lifecycle planning, servicing issues
| R_2Su9412OXG578E10 | 201 | Procurement Techniques |  | Directly accepted | Added topic "Procurement techniques"
| R_2Su9412OXG578E11 | 202 | requirements engineering |  | No change |  |  | Out of scope
| R_2Su9412OXG578E12 | 203 | vendor audits |  | No change |  |  | Out of scope
| R_2Su9412OXG578E13 | 204 | secure development environments |  | No change |  |  | Out of scope
| R_2Su9412OXG578E14 | 205 | supply chain issues |  | No change |  |  | Out of scope
| R_2Su9412OXG578E15 | 206 | hardware and software lifecycle planning |  | No change |  |  | Out of scope
| R_2Su9412OXG578E16 | 207 | servicing issues |  | No change |  |  | Out of scope
| R_1BxKzD0XM4g0jcZ | 208 to 209 | Any of the smart devices, relays, sensors to cloud, safety.
| R_1BxKzD0XM4g0jcZ | 208 | Any of the smart devices, relays, sensors to cloud |  | Indirectly accepted | Added topic "Network defensive techniques" that would cover cloud-oriented architectures
| R_1BxKzD0XM4g0jcZ | 209 | safety. |  | No change |  | Already its own topic under Section II. Also will be covered in the CEI topic | Already included
| R_3kMMhb0mj6S80wG | 210 | Topic 1 - Physical Security |  | Directly accepted | Added "Physical security" as a topic under "defensive techniques" | I think this should be its own category. However, I am uncertain about how different this really is. I would specifically point out control enclosures and remote field equipment.
| R_28HRVFlTwpY1Y9m | 211 | Securing Legacy Systems With Little/No Cyber Posture |  | Indirectly accepted | Added "Security management of legacy devices" within "management defensive techniques"
| R_3PHz5Hw4MGOxWNK | 212 | topic1 |  | Insufficient detail provided
| R_3kMMhb0mj6S80wG | 213 | No |  | Insufficient detail provided
From Section II | R_21onh8CfZn5Ywhn | 214 | Industrial Automation Security governance and compliance management. | SII 13 | Indirectly accepted | Added topic "Management defensive techniques"
| R_RqVMBWhBtfTdYrf | 215 | PLC secure coding practices | SII 70 | Directly accepted | Added subtopic "Secure controller programming"
| R_1BxKzD0XM4g0jcZ | 216 | Access. | SII 74 | Indirectly accepted | Added two subtopics dealing with access to "common weaknesses" and two defensive techniques dealing with access.
| R_336XnfIxyqB4ir6 | 217 | Nist Framework Experience | SII 75 | Indirectly accepted | Added subtopics on NIST
| R_3kMMhb0mj6S80wG | 218 | OT Security Operations Center ( SOC) | SII 76 | Directly accepted | Added "Security operations center for ICS"
| R_28HRVFlTwpY1Y9m | 219 | What is a Data Diode and Where Can it be ineffectively or effectively applied- and why | SII 88 | No change |  | This should be added to a description about the terminology | Out of scope
| R_3CZvA7p1ny9D7Su | 220 | Hardware Reverse Engineering | SII 90 | Indirectly accepted | Added topic "hardware reviews"
| R_41siJvbhXtEUFmp | 221 | Secure Coding practice | SII 92 | Indirectly accepted | Added "Secure software development lifecycle" as a topic to "Managerial techniques". Applies to vendors and asset owners. | In particular this goes to in-house developmentm for asset owners. Also goes for vendors
| R_1n87BSaF6YgOCbm | 222 | Risk management frameworks | SII 93 | Indirectly accepted | Added "NIST" as a guidance body. Added "Risk management" as a managerial defensive technique
| R_3R9FXVwJeSQbdCH | 223 | Cybersecurity in operations is physic risk | SII 94 | No change |  | I hope this comes across in the entire effort | Just commentary
| R_3L11jmMH3DJ4ha8 | 224 | Informal ICS Exposure, i.e. HMI user or maintenance technician. | SII 99 | No change | Lack of training by ICS-related personnel is already included; but added "Adversary mindset" as topic to "managerial approaches" | Make sure to include a teaching note on this.
| R_1C7kv6fnDsy5HUO | 225 | Professional Ethics | SII 106 | Directly accepted | Added "professional ethics as a topic
| R_1JLVvwwpCaXn84N | 226 | Control Systems Cybersecurity | SII 109 | No change |  |  | Already included
| R_3EKGwQYaHhLTi4H | 227 | Software Design and Integration from the purview of Industrial Cybersecurity | SII 110 | Directly accepted | Added "Secure software development lifecycle" as a topic to "Managerial techniques". Applies to vendors and asset owners.
| R_1C7kv6fnDsy5HUO | 228 | Professsional Obligations | SII 134 | Directly accepted | Added "Professional ethics" as a topic
| R_2YX5Hjj1Z8JitHY | 229 | Control System Manufacturer: Following Required Security Practices | SII 153 | Directly accepted | Added "Secure software development lifecycle" as a topic to "Managerial techniques". Applies to vendors and asset owners.
| R_336XnfIxyqB4ir6 | 230 | ICS Purposed Cybersecurity Tooling | SII 155 | Indirectly accepted | Added various cybersecurity tools - software and hardware
| R_3Pc1V6PF3wO56q2 | 231 | Threat Landscape | SII 163 | Indirectly accepted | Added "Threat intelligence"
| R_2AX45Pxy89BCTuf | 232 | Shared Knowledge in Cyberspace, Shared Resources of Cyber Security | SII 165 | Indirectly accepted | Added "Security operations center for ICS"
| R_XzBpdAcbe7EVaa5 | 233 | Security | SII 183 | No change | Ideally everything in the Industrial cybersecurity knowledge section meets this suggestion |  | Already included
| R_2YX5Hjj1Z8JitHY | 234 | Unique aspects of protecting Control System functions | SII 209 | Indirectly accepted | Created a new document "Teaching Notes" to record such unique aspects | This is a gigantic issue. So many of the items suggested are also included in traditional cybersecurity. A separate document or a more detailed explanation of all those items will be required to help an instructor understand how they are diferent. Thes document should allow for input from a whole bunch of people. It might need some basic gatekeeping. A wiki of sorts might be ideal.
| R_RqVMBWhBtfTdYrf | 235 | PLC secure coding practices | SII 219 | Directly accepted | Added "Secure controller programming"
| R_1BxKzD0XM4g0jcZ | 236 | Access is probably covered in one of other sections but passwords and access. | SII 220 | Indirectly accepted | Added "Passwords & credential management" Added several subtopics dealing with access control
| R_2AX45Pxy89BCTuf | 237 | Wireless Control Systems Security | SII 243 | Indirectly accepted | Added "device monitoring", "device hardening", and "wireless communications analysis" | The security elements of wireless networks belongs in section III
| R_XzBpdAcbe7EVaa5 | 238 | Inside threats | SII 324 | Indirectly accepted | Added "Threat intelligence"
| R_XzBpdAcbe7EVaa5 | 239 | malicious actors | SII 325 | Indirectly accepted | Added "Threat intelligence"
| R_XzBpdAcbe7EVaa5 | 240 | privacy | SII 326 | Directly accepted | Added "Privacy assurance"
| R_1MPQ2QhyNfNcAV3 | 241 | fundamentals of network segmentation | SII 340 | Directly accepted | Added "Network segmentation"
| R_1n2c6fNrttesqpg | 242 | Statefull packet inspection | SII 345 | No change | ICS network firewalls is already a topic. Stateful firewalls would be covered there. |  | Already included
| R_241sHjNVIdRaCW1 | 243 | security architectures | SII 347 | Directly accepted | Added "Secure network architecture"
| R_2Pe7wD3ySp315F0 | 244 | Boundary Diagrams | SII 355 | Directly accepted | Added "Network boundaries"
| R_2Pe7wD3ySp315F0 | 245 | Ports /Protocols Matrix | SII 356 | Indirectly accepted | Added "Management of ports and services"
| R_2aRo3qs2LIv8otL | 246 | Data Diodes (what they are, are not, and when and how to use them) | SII 358 | No change | Data diodes is already included. | More detail -- such as strengths and weaknesses -- would be included in a more detailed desription document | Already included
| R_3CAZq03xeRuPvRk | 247 | Security | SII 366 | No change | Ideally everything in the Industrial cybersecurity knowledge section meets this suggestion |  | Already included
| R_2YX5Hjj1Z8JitHY | 248 | The unique aspects of securing safety function | SII 395 | Directly accepted | Added "Special consideration of safety functions" | This should be a clue to conside these explicitly because of their importance. Could include a discussion of physical isolation, network isolation, and how to monitor the security of the function
| R_RqVMBWhBtfTdYrf | 249 | CCE | SII 400 | Directly accepted | Added "Consequence-driven cyber-informed engineering"
| R_RqVMBWhBtfTdYrf | 250 | CyberPHA | SII 401 | No change | Already included as "Process hazards-based approaches" |  | Already included
| R_RqVMBWhBtfTdYrf | 251 | Threat and Attack Modeling | SII 402 | Indirectly accepted | Added "Adversary mindset" | A description of threat and attack modeling should be included as part of "adversary mindset" in the description document
| R_RqVMBWhBtfTdYrf | 252 | Consequence Red Teaming | SII 403 | Directly accepted | Added "consequence red-teaming"
| R_28HRVFlTwpY1Y9m | 253 | How to detect/determine/diagnose a Safety System intrusion/remote control/failure, | SII 417 | No change | Out of scope | this is a great idea. How-to is a task and hence out of scope | Out of scope
| R_3CZvA7p1ny9D7Su | 254 | Hardware vs. Software Safety Controls | SII 418 | Indirectly accepted | Added "cyber-physical failsafes"
| R_1HduUVDzYT3QuFp | 255 | Logical Segmentation | SII 434 | Indirectly accepted | Added "Network segmentation"
| R_RqVMBWhBtfTdYrf | 256 | Secure PLC coding practices | SII 439 | Directly accepted | Added "Secure controller programming"
| R_RqVMBWhBtfTdYrf | 257 | consequence red teaming | SII 440 | Directly accepted | Added "consequence red-teaming"
| R_RqVMBWhBtfTdYrf | 258 | cyberPHA | SII 441 | No change | Already included as "Process hazards-based approaches" |  | Already included
| R_RqVMBWhBtfTdYrf | 259 | threat and attack modeling | SII 442 | Indirectly accepted | Added "Adversary mindset"
| R_RqVMBWhBtfTdYrf | 260 | CCE | SII 443 | Directly accepted | Added "Consequence-driven cyber-informed engineering"
| R_2AX45Pxy89BCTuf | 261 | Security | SII 444 | No change | Ideally everything in the Industrial cybersecurity knowledge section meets this suggestion |  | Already included
| R_2AX45Pxy89BCTuf | 262 | creating secure industrial communications | SII 445 | Indirectly accepted | Added " Security-enhanced ICS network communications & protocols" | This would include OPC UA and Secure CIP, as well as improved Siemens protocols
| R_2AX45Pxy89BCTuf | 263 | Securing CIP | SII 446 | Indirectly accepted | Added " Security-enhanced ICS network communications & protocols"
| R_2AX45Pxy89BCTuf | 264 | Securing programmable controls from industrial ethernet | SII 447 | Indirectly accepted | Several additions under "network defensive techniques" address this
| R_3kMMhb0mj6S80wG | 265 | backup | SII 453 | Indirectly accepted | "Backup" was added as a lifecycle management topic and is listed in the notes section | Backup as it pertains to ICS should be covered in Section III
| R_1eqr6le0DY5qvYg | 266 | security topics | SII 461 | No change | Ideally everything in the Industrial cybersecurity knowledge section meets this suggestion |  | Already included
[5 empty] | END | END | END

## Respondents
Respondent | Original | Count | Respondent | Response ID | Unique Respondents | Count of atomized responses | Unique Counts | Counts of unique responses
R_1BxKzD0XM4g0jcZ | 208 to 209 | 2 | R_1HduUVDzYT3QuFp | 1 | R_28HRVFlTwpY1Y9m | 29 | 29 | 1
R_1HduUVDzYT3QuFp | 1 to 6 | 6 | R_1HduUVDzYT3QuFp | 2 | R_RqVMBWhBtfTdYrf | 24 | 24 | 1
R_1JLVvwwpCaXn84N | 142-144 | 3 | R_1HduUVDzYT3QuFp | 3 | R_3kMMhb0mj6S80wG | 19 | 19 | 1
R_27a3HBRQ60cNEsj | 137-138 | 2 | R_1HduUVDzYT3QuFp | 4 | R_2YsHBQvCLvWLRjo | 16 | 16 | 1
R_27a3HBRQ60cNEsj | 170-174 | 5 | R_1HduUVDzYT3QuFp | 5 | R_27a3HBRQ60cNEsj | 14 | 14 | 1
R_28HRVFlTwpY1Y9m | 8 to 11 | 4 | R_1HduUVDzYT3QuFp | 6 | R_2Su9412OXG578E9 | 13 | 13 | 1
R_28HRVFlTwpY1Y9m | 14-15 | 2 | R_2YX5Hjj1Z8JitHY | 7 | R_2YX5Hjj1Z8JitHY | 10 | 10 | 4
R_28HRVFlTwpY1Y9m | 122-124 | 3 | R_28HRVFlTwpY1Y9m | 8 | R_2WHW03nONpmCTMk | 10 | 8 | 2
R_2Su9412OXG578E9 | 16-17 | 2 | R_28HRVFlTwpY1Y9m | 9 | R_3MQjCEJ5fsIuCBG | 10 | 7 | 3
R_2Su9412OXG578E9 | 201-207 | 7 | R_28HRVFlTwpY1Y9m | 10 | R_vZYehSwKucwaIcF | 10 | 5 | 2
R_2WHW03nONpmCTMk | 18-19 | 2 | R_28HRVFlTwpY1Y9m | 11 | R_1HduUVDzYT3QuFp | 8 | 4 | 4
R_2YsHBQvCLvWLRjo | 193-197 | 4 | R_2WHW03nONpmCTMk | 12 | R_1C7kv6fnDsy5HUO | 8 | 3 | 3
R_3kMMhb0mj6S80wG | 153-155 | 3 | R_2YX5Hjj1Z8JitHY | 13 | R_1rGFDHuFhnB2AQB | 7 | 2 | 6
R_3MQjCEJ5fsIuCBG | 45-48 | 4 | R_28HRVFlTwpY1Y9m | 14 | R_yQjIaqY7oRRQQNP | 7 | 1 | 27
R_RqVMBWhBtfTdYrf | 149-151 | 3 | R_28HRVFlTwpY1Y9m | 15 | R_2AX45Pxy89BCTuf | 7
R_RqVMBWhBtfTdYrf | 198-200 | 3 | R_2Su9412OXG578E9 | 16 | R_XTVNiQSzyaZNSzn | 5
R_yQjIaqY7oRRQQNP | 112-114 | 3 | R_2Su9412OXG578E9 | 17 | R_1JLVvwwpCaXn84N | 5
|  |  | R_2WHW03nONpmCTMk | 18 | R_5c0uAAMSNWyojMB | 4
| Total | 58 | R_2WHW03nONpmCTMk | 19 | R_3lMl6Hi3p0cr1K4 | 4
|  |  | R_2YX5Hjj1Z8JitHY | 20 | R_1BxKzD0XM4g0jcZ | 4
|  |  | R_2YsHBQvCLvWLRjo | 21 | R_XzBpdAcbe7EVaa5 | 4
|  |  | R_2YsHBQvCLvWLRjo | 22 | R_2Squ4P2NtTznJ4a | 3
|  |  | R_2YsHBQvCLvWLRjo | 23 | R_Qh4JJ9Sl3FTmiWZ | 3
|  |  | R_2YsHBQvCLvWLRjo | 24 | R_VJBb9QiRZiR3xC1 | 3
|  |  | R_XTVNiQSzyaZNSzn | 25 | R_1n87BSaF6YgOCbm | 2
|  |  | R_2Squ4P2NtTznJ4a | 26 | R_2y7OAWWVwHpdUnP | 2
|  |  | R_RqVMBWhBtfTdYrf | 27 | R_3njf722UBVndAP8 | 2
|  |  | R_RqVMBWhBtfTdYrf | 28 | R_336XnfIxyqB4ir6 | 2
|  |  | R_3EaM9vGMjuCCcuf | 29 | R_3CZvA7p1ny9D7Su | 2
|  |  | R_2Su9412OXG578E9 | 30 | R_2Pe7wD3ySp315F0 | 2
|  |  | R_2AX45Pxy89BCTuf` | 31 | R_3EaM9vGMjuCCcuf | 1
|  |  | R_3kMMhb0mj6S80wG | 32 | R_2AX45Pxy89BCTuf` | 1
|  |  | R_3kMMhb0mj6S80wG | 33 | R_26hX0Es8WVUZ3i0 | 1
|  |  | R_3kMMhb0mj6S80wG | 34 | R_ekst6dSTefw2r85 | 1
|  |  | R_3kMMhb0mj6S80wG | 35 | R_8ugyg2V7BXUQEr7 | 1
|  |  | R_3kMMhb0mj6S80wG | 36 | R_274qf7ZvI8Uo4YW | 1
|  |  | R_3kMMhb0mj6S80wG | 37 | R_1eUD8SM0184KR6B | 1
|  |  | R_28HRVFlTwpY1Y9m | 38 | R_2Su9412OXG578E10 | 1
|  |  | R_28HRVFlTwpY1Y9m | 39 | R_2Su9412OXG578E11 | 1
|  |  | R_1HduUVDzYT3QuFp | 40 | R_2Su9412OXG578E12 | 1
|  |  | R_1rGFDHuFhnB2AQB | 41 | R_2Su9412OXG578E13 | 1
|  |  | R_Qh4JJ9Sl3FTmiWZ | 42 | R_2Su9412OXG578E14 | 1
|  |  | R_3MQjCEJ5fsIuCBG | 43 | R_2Su9412OXG578E15 | 1
|  |  | R_1rGFDHuFhnB2AQB | 44 | R_2Su9412OXG578E16 | 1
|  |  | R_3MQjCEJ5fsIuCBG | 45 | R_3PHz5Hw4MGOxWNK | 1
|  |  | R_3MQjCEJ5fsIuCBG | 46 | R_21onh8CfZn5Ywhn | 1
|  |  | R_3MQjCEJ5fsIuCBG | 47 | R_41siJvbhXtEUFmp | 1
|  |  | R_3MQjCEJ5fsIuCBG | 48 | R_3R9FXVwJeSQbdCH | 1
|  |  | R_2YsHBQvCLvWLRjo | 49 | R_3L11jmMH3DJ4ha8 | 1
|  |  | R_RqVMBWhBtfTdYrf | 50 | R_3EKGwQYaHhLTi4H | 1
|  |  | R_1C7kv6fnDsy5HUO | 51 | R_3Pc1V6PF3wO56q2 | 1
|  |  | R_1n87BSaF6YgOCbm | 52 | R_1MPQ2QhyNfNcAV3 | 1
|  |  | R_vZYehSwKucwaIcF | 53 | R_1n2c6fNrttesqpg | 1
|  |  | R_vZYehSwKucwaIcF | 54 | R_241sHjNVIdRaCW1 | 1
|  |  | R_1rGFDHuFhnB2AQB | 55 | R_2aRo3qs2LIv8otL | 1
|  |  | R_vZYehSwKucwaIcF | 56 | R_3CAZq03xeRuPvRk | 1
|  |  | R_1rGFDHuFhnB2AQB | 57 | R_1eqr6le0DY5qvYg | 1
|  |  | R_3MQjCEJ5fsIuCBG | 58 |  | 266
|  |  | R_1C7kv6fnDsy5HUO | 59
|  |  | R_yQjIaqY7oRRQQNP | 60
|  |  | R_2YX5Hjj1Z8JitHY | 61
|  |  | R_27a3HBRQ60cNEsj | 62
|  |  | R_26hX0Es8WVUZ3i0 | 63
|  |  | R_2Squ4P2NtTznJ4a | 64
|  |  | R_RqVMBWhBtfTdYrf | 65
|  |  | R_ekst6dSTefw2r85 | 66
|  |  | R_1C7kv6fnDsy5HUO | 67
|  |  | R_3MQjCEJ5fsIuCBG | 68
|  |  | R_2y7OAWWVwHpdUnP | 69
|  |  | R_2y7OAWWVwHpdUnP | 70
|  |  | R_2Su9412OXG578E9 | 71
|  |  | R_2Su9412OXG578E9 | 72
|  |  | R_2Su9412OXG578E9 | 73
|  |  | R_2Su9412OXG578E9 | 74
|  |  | R_yQjIaqY7oRRQQNP | 75
|  |  | R_1JLVvwwpCaXn84N | 76
|  |  | R_28HRVFlTwpY1Y9m | 77
|  |  | R_1rGFDHuFhnB2AQB | 78
|  |  | R_Qh4JJ9Sl3FTmiWZ | 79
|  |  | R_8ugyg2V7BXUQEr7 | 80
|  |  | R_vZYehSwKucwaIcF | 81
|  |  | R_2YsHBQvCLvWLRjo | 82
|  |  | R_yQjIaqY7oRRQQNP | 83
|  |  | R_1C7kv6fnDsy5HUO | 84
|  |  | R_vZYehSwKucwaIcF | 85
|  |  | R_28HRVFlTwpY1Y9m | 86
|  |  | R_2WHW03nONpmCTMk | 87
|  |  | R_3MQjCEJ5fsIuCBG | 88
|  |  | R_vZYehSwKucwaIcF | 89
|  |  | R_2WHW03nONpmCTMk | 90
|  |  | R_2YsHBQvCLvWLRjo | 91
|  |  | R_1C7kv6fnDsy5HUO | 92
|  |  | R_vZYehSwKucwaIcF | 93
|  |  | R_2Su9412OXG578E9 | 94
|  |  | R_2WHW03nONpmCTMk | 95
|  |  | R_2YX5Hjj1Z8JitHY | 96
|  |  | R_5c0uAAMSNWyojMB | 97
|  |  | R_5c0uAAMSNWyojMB | 98
|  |  | R_5c0uAAMSNWyojMB | 99
|  |  | R_27a3HBRQ60cNEsj | 100
|  |  | R_27a3HBRQ60cNEsj | 101
|  |  | R_27a3HBRQ60cNEsj | 102
|  |  | R_27a3HBRQ60cNEsj | 103
|  |  | R_2YsHBQvCLvWLRjo | 104
|  |  | R_2YsHBQvCLvWLRjo | 105
|  |  | R_VJBb9QiRZiR3xC1 | 106
|  |  | R_VJBb9QiRZiR3xC1 | 107
|  |  | R_2Squ4P2NtTznJ4a | 108
|  |  | R_RqVMBWhBtfTdYrf | 109
|  |  | R_2Su9412OXG578E9 | 110
|  |  | R_2AX45Pxy89BCTuf | 111
|  |  | R_yQjIaqY7oRRQQNP | 112
|  |  | R_yQjIaqY7oRRQQNP | 113
|  |  | R_yQjIaqY7oRRQQNP | 114
|  |  | R_vZYehSwKucwaIcF | 115
|  |  | R_vZYehSwKucwaIcF | 116
|  |  | R_vZYehSwKucwaIcF | 117
|  |  | R_3kMMhb0mj6S80wG | 118
|  |  | R_28HRVFlTwpY1Y9m | 119
|  |  | R_28HRVFlTwpY1Y9m | 120
|  |  | R_28HRVFlTwpY1Y9m | 121
|  |  | R_28HRVFlTwpY1Y9m | 122
|  |  | R_28HRVFlTwpY1Y9m | 123
|  |  | R_28HRVFlTwpY1Y9m | 124
|  |  | R_28HRVFlTwpY1Y9m | 125
|  |  | R_28HRVFlTwpY1Y9m | 126
|  |  | R_28HRVFlTwpY1Y9m | 127
|  |  | R_28HRVFlTwpY1Y9m | 128
|  |  | R_28HRVFlTwpY1Y9m | 129
|  |  | R_28HRVFlTwpY1Y9m | 130
|  |  | R_28HRVFlTwpY1Y9m | 131
|  |  | R_28HRVFlTwpY1Y9m | 132
|  |  | R_28HRVFlTwpY1Y9m | 133
|  |  | R_XTVNiQSzyaZNSzn | 134
|  |  | R_XTVNiQSzyaZNSzn | 135
|  |  | R_XTVNiQSzyaZNSzn | 136
|  |  | R_27a3HBRQ60cNEsj | 137
|  |  | R_27a3HBRQ60cNEsj | 138
|  |  | R_3njf722UBVndAP8 | 139
|  |  | R_XTVNiQSzyaZNSzn | 140
|  |  | R_yQjIaqY7oRRQQNP | 141
|  |  | R_1JLVvwwpCaXn84N | 142
|  |  | R_1JLVvwwpCaXn84N | 143
|  |  | R_1JLVvwwpCaXn84N | 144
|  |  | R_Qh4JJ9Sl3FTmiWZ | 145
|  |  | R_274qf7ZvI8Uo4YW | 146
|  |  | R_2YX5Hjj1Z8JitHY | 147
|  |  | R_2YsHBQvCLvWLRjo | 148
|  |  | R_RqVMBWhBtfTdYrf | 149
|  |  | R_RqVMBWhBtfTdYrf | 150
|  |  | R_RqVMBWhBtfTdYrf | 151
|  |  | R_3MQjCEJ5fsIuCBG | 152
|  |  | R_3kMMhb0mj6S80wG | 153
|  |  | R_3kMMhb0mj6S80wG | 154
|  |  | R_3kMMhb0mj6S80wG | 155
|  |  | R_2YsHBQvCLvWLRjo | 156
|  |  | R_1eUD8SM0184KR6B | 157
|  |  | R_RqVMBWhBtfTdYrf | 158
|  |  | R_1rGFDHuFhnB2AQB | 159
|  |  | R_2WHW03nONpmCTMk | 160
|  |  | R_VJBb9QiRZiR3xC1 | 161
|  |  | R_3MQjCEJ5fsIuCBG | 162
|  |  | R_2WHW03nONpmCTMk | 163
|  |  | R_2WHW03nONpmCTMk | 164
|  |  | R_1C7kv6fnDsy5HUO | 165
|  |  | R_3lMl6Hi3p0cr1K4 | 166
|  |  | R_2WHW03nONpmCTMk | 167
|  |  | R_2YX5Hjj1Z8JitHY | 168
|  |  | R_5c0uAAMSNWyojMB | 169
|  |  | R_27a3HBRQ60cNEsj | 170
|  |  | R_27a3HBRQ60cNEsj | 171
|  |  | R_27a3HBRQ60cNEsj | 172
|  |  | R_27a3HBRQ60cNEsj | 173
|  |  | R_27a3HBRQ60cNEsj | 174
|  |  | R_27a3HBRQ60cNEsj | 175
|  |  | R_27a3HBRQ60cNEsj | 176
|  |  | R_3lMl6Hi3p0cr1K4 | 177
|  |  | R_3lMl6Hi3p0cr1K4 | 178
|  |  | R_RqVMBWhBtfTdYrf | 179
|  |  | R_3lMl6Hi3p0cr1K4 | 180
|  |  | R_2Su9412OXG578E9 | 181
|  |  | R_2Su9412OXG578E9 | 182
|  |  | R_2Su9412OXG578E9 | 183
|  |  | R_2Su9412OXG578E9 | 184
|  |  | R_3kMMhb0mj6S80wG | 185
|  |  | R_3kMMhb0mj6S80wG | 186
|  |  | R_3kMMhb0mj6S80wG | 187
|  |  | R_3kMMhb0mj6S80wG | 188
|  |  | R_3kMMhb0mj6S80wG | 189
|  |  | R_28HRVFlTwpY1Y9m | 190
|  |  | R_1rGFDHuFhnB2AQB | 191
|  |  | R_3njf722UBVndAP8 | 192
|  |  | R_2YsHBQvCLvWLRjo | 193
|  |  | R_2YsHBQvCLvWLRjo | 194
|  |  | R_2YsHBQvCLvWLRjo | 195
|  |  | R_2YsHBQvCLvWLRjo | 196
|  |  | R_2YsHBQvCLvWLRjo | 197
|  |  | R_RqVMBWhBtfTdYrf | 198
|  |  | R_RqVMBWhBtfTdYrf | 199
|  |  | R_RqVMBWhBtfTdYrf | 200
|  |  | R_2Su9412OXG578E10 | 201
|  |  | R_2Su9412OXG578E11 | 202
|  |  | R_2Su9412OXG578E12 | 203
|  |  | R_2Su9412OXG578E13 | 204
|  |  | R_2Su9412OXG578E14 | 205
|  |  | R_2Su9412OXG578E15 | 206
|  |  | R_2Su9412OXG578E16 | 207
|  |  | R_1BxKzD0XM4g0jcZ | 208
|  |  | R_1BxKzD0XM4g0jcZ | 209
|  |  | R_3kMMhb0mj6S80wG | 210
|  |  | R_28HRVFlTwpY1Y9m | 211
|  |  | R_3PHz5Hw4MGOxWNK | 212
|  |  | R_3kMMhb0mj6S80wG | 213
|  |  | R_21onh8CfZn5Ywhn | 214
|  |  | R_RqVMBWhBtfTdYrf | 215
|  |  | R_1BxKzD0XM4g0jcZ | 216
|  |  | R_336XnfIxyqB4ir6 | 217
|  |  | R_3kMMhb0mj6S80wG | 218
|  |  | R_28HRVFlTwpY1Y9m | 219
|  |  | R_3CZvA7p1ny9D7Su | 220
|  |  | R_41siJvbhXtEUFmp | 221
|  |  | R_1n87BSaF6YgOCbm | 222
|  |  | R_3R9FXVwJeSQbdCH | 223
|  |  | R_3L11jmMH3DJ4ha8 | 224
|  |  | R_1C7kv6fnDsy5HUO | 225
|  |  | R_1JLVvwwpCaXn84N | 226
|  |  | R_3EKGwQYaHhLTi4H | 227
|  |  | R_1C7kv6fnDsy5HUO | 228
|  |  | R_2YX5Hjj1Z8JitHY | 229
|  |  | R_336XnfIxyqB4ir6 | 230
|  |  | R_3Pc1V6PF3wO56q2 | 231
|  |  | R_2AX45Pxy89BCTuf | 232
|  |  | R_XzBpdAcbe7EVaa5 | 233
|  |  | R_2YX5Hjj1Z8JitHY | 234
|  |  | R_RqVMBWhBtfTdYrf | 235
|  |  | R_1BxKzD0XM4g0jcZ | 236
|  |  | R_2AX45Pxy89BCTuf | 237
|  |  | R_XzBpdAcbe7EVaa5 | 238
|  |  | R_XzBpdAcbe7EVaa5 | 239
|  |  | R_XzBpdAcbe7EVaa5 | 240
|  |  | R_1MPQ2QhyNfNcAV3 | 241
|  |  | R_1n2c6fNrttesqpg | 242
|  |  | R_241sHjNVIdRaCW1 | 243
|  |  | R_2Pe7wD3ySp315F0 | 244
|  |  | R_2Pe7wD3ySp315F0 | 245
|  |  | R_2aRo3qs2LIv8otL | 246
|  |  | R_3CAZq03xeRuPvRk | 247
|  |  | R_2YX5Hjj1Z8JitHY | 248
|  |  | R_RqVMBWhBtfTdYrf | 249
|  |  | R_RqVMBWhBtfTdYrf | 250
|  |  | R_RqVMBWhBtfTdYrf | 251
|  |  | R_RqVMBWhBtfTdYrf | 252
|  |  | R_28HRVFlTwpY1Y9m | 253
|  |  | R_3CZvA7p1ny9D7Su | 254
|  |  | R_1HduUVDzYT3QuFp | 255
|  |  | R_RqVMBWhBtfTdYrf | 256
|  |  | R_RqVMBWhBtfTdYrf | 257
|  |  | R_RqVMBWhBtfTdYrf | 258
|  |  | R_RqVMBWhBtfTdYrf | 259
|  |  | R_RqVMBWhBtfTdYrf | 260
|  |  | R_2AX45Pxy89BCTuf | 261
|  |  | R_2AX45Pxy89BCTuf | 262
|  |  | R_2AX45Pxy89BCTuf | 263
|  |  | R_2AX45Pxy89BCTuf | 264
|  |  | R_3kMMhb0mj6S80wG | 265
|  |  | R_1eqr6le0DY5qvYg | 266